
	Номер п/п
	Наименование товара, характеристики


	Требования к качеству

(ГОСТ, ТУ, чертеж, проект, задание)
	Страна происхождения, завод-изготовитель


	Единицы 

измерения
	Количество

	8
	Программное обеспечение
типа Labview 2014 Professional для Windows
или эквивалент 
	Технические характеристики.

· LabVIEW ( Laboratory Virtual Instrumentation Engineering Workbench) —среда разработки и платформа для выполнения программ, созданных на графическом языке программирования «G» фирмы National Instruments версия для Microsoft Windows.

· LabVIEW предназначено для создания системы сбора и обработки данных в области АСНИ.
Особенности и функции
LabVIEW Professional 
OS Support 
Windows, Mac, Linux 

Languages 
English, French, German, Simplified Chinese Japanese, Korean 

Standard Service Program 
 

Technical Support 

One year included 

24/7 Online Training 

LabVIEW Core 1, 2, 3 

Software Upgrades 

One year included 

Hardware Integration 
 

Acquiring data from NI hardware 

Included 

Acquiring data from third-party hardware 

Included 

Programming Environment 
 

Intuitive graphical programming 

Included 

Multithreaded code execution 

Included 

Code debugging 

Included 

Event-driven programming 

Included 

Source code control

Included 

Code quality review 

Included 

Unit test code 
Included 

Mathematics 
 

Basic math 

Included 

Probability and statistics 

Included 

Linear algebra 

Included 

Curve fitting 

Included 

Differential equations 

Included 

Interpolation and extrapolation 

Included 

Calculus 

Included 

Signal Processing and Control 
 

Signal measurements 

Included 

Signal generation 

Included 

PID and fuzzy logic 

Included 

Signal conditioning/filtering 

Included 

Windowing 

Included 

Signal operations 

Included 

Transforms 

Included 

Read, Write, Share Data 
 

Read and write to file 

Included 

Network communications 

Included 

Web services 

Included 

Software and Code Integration 
 

Call DLLs 

Included 

ActiveX integration 

Included 

The MathWorks, Inc. MATLAB® script node 

Included 

Executable and Distribution 
 

Control program remotely across Internet 

Included 


	National Instrumentsi
	шт.
	1


	9
	Программное обеспечение
типа Labview 2014 full  для Windows
или эквивалент 
	Технические характеристики.

· LabVIEW ( Laboratory Virtual Instrumentation Engineering Workbench) —среда разработки и платформа для выполнения программ, созданных на графическом языке программирования «G» фирмы National Instruments версия для Microsoft Windows.

· LabVIEW предназначено для создания системы сбора и обработки данных в области АСНИ.
Особенности и функции
LabVIEW Full 
OS Support 
Windows, Mac, Linux 

Languages 
English, French, German, Simplified Chinese Japanese, Korean 

Standard Service Program 
 

Technical Support 

One year included 

24/7 Online Training 

LabVIEW Core 1, 2, 3 

Software Upgrades 

One year included 

Hardware Integration 
 

Acquiring data from NI hardware 

Included 

Acquiring data from third-party hardware 

Included 

Programming Environment 
 

Intuitive graphical programming 

Included 

Multithreaded code execution 

Included 

Code debugging 

Included 

Event-driven programming 

Included 

Mathematics 
 

Basic math 

Included 

Probability and statistics 

Included 

Curve fitting 

Included 

Differential equations 

Included 

Interpolation and extrapolation 

Included 

Calculus 

Included 

Signal Processing and Control 
 

Signal measurements 

Included 

Signal generation 

Included 

PID and fuzzy logic 

Included 

Signal conditioning/filtering 

Included 

Windowing 

Included 

Signal operations 

Included 

Transforms 

Included 

Read, Write, Share Data 
 

Read and write to file 

Included 

Network communications 

Included 

Web services 

Included 

Software and Code Integration 
 

Call DLLs 

Included 

ActiveX integration 

Included 

The MathWorks, Inc. MATLAB® script node 

Included 

Executable and Distribution 
 

Control program remotely across Internet 

Included 


	National Instrumentsi
	шт.
	3



